SUPPLEMENTAL MATERIAL

Toxicokinetics of 8:2 fluorotelomer alcohol (8:2-FTOH) in male and female Hsd:Sprague Dawley SD rats after intravenous and gavage administration

Huang M.C.1, Robinson V.G.1, Waidyanatha S.1, Dzierlenga A.L1, DeVito M.J.1, Eifrid M.A.2,3, Gibbs S.T.2, Blystone CR1║.

1 Division of the National Toxicology Program, National Institutes of Environmental Health Sciences, National Institute of Health, Department of Health and Human Services, Research Triangle Park, NC 27709. 2 Battelle Memorial Institute, Columbus, Ohio, 43201.

Table S1. Summary of Analytical Method Validation and Stability Data for FTOH, PFOA and 7:3 FTA in Plasma

| Parameter | FTOH | PFOA | 7:3 FTA |
| --- | --- | --- | --- |
| Matrix concentration range (ng/mL) | 0.5 to 10 | 5 to 200 | 0.5 to 200 |
| Limit of Detection (LOD) (ng/mL) | 0.0419 | 1.16 | 0.852 |
| Linearity (r2) | ≥ 0.99 | ≥ 0.98 | ≥ 0.98 |
| Accuracy (%RE) a |  |  |  |
| Intraday | ≤ ±16.8 | ≤ ±3.7 | ≤ ±14.6 |
| Interday | ≤ ± 7.1 | ≤ ±1.7 | ≤ ±7.0 |
| Precision (% RSD) a |  |  |  |
| Intraday | ≤ 3.5 | ≤ 5.4 | ≤11.6 |
| Interday | ≤ 8.2 | ≤ 4.0 | ≤ 9.0 |
| Dilution Verification (concentration tested) (ng/mL) | 1250 | 2500 | 2500 |
| %RE | ≤ ±17.6 | ≤ ±13.2 | ≤ ±2.0 |
| %RSD | ≤ 10.0 | ≤ 4.0 | ≤ 1.3 |
| Freeze/Thaw Stability (% of Day 0)b |  |  |  |
| %RE | ≤ ± 10.4 | ≤ ±13.1 | ≤ ±19.5 |
| %RSD | ≤ 2.5 | ≤ 10.7 | ≤ 11.4 |
| Storage Stability @ -20oC (% of Day 0)c, d |  |  |  |
| %RE | ≤ ± 14.5 | ND | ND |
| %RSD | ≤ 5.9 | ND | ND |

aAccuracy and precision were calculated using plasma QCs

b Spiked matrix was stored at -20°C and subjected to 3 freeze-thaw cycles

c Stability was performed up to 60 and 243 days for low and High QCs.

d ND, not determined

Table S2. Summary of Analytical Method Validation and Stability Data for FTOH, PFOA and 7:3 FTA in Liver

| Parameter | FTOH | PFOA | 7:3 FTA |
| --- | --- | --- | --- |
| Matrix concentration range (ng/g) | 100 to1000 | 50 to 2000 | 5 to 2000 |
| Limit of Detection (LOD) (ng/g) | 27.6 | 19.7 | 2.91 |
| Linearity (r2) | ≥ 0.99 | ≥ 0.98 | ≥ 0.98 |
| Accuracy (%RE) a |  |  |  |
| Intraday | ≤14.4 | ≤14.6 | ≤17.8 |
| Interday | ≤4.9 | ≤9.3 | ≤15.0 |
| Precision (% RSD) a |  |  |  |
| Intraday | ≤12.6 | ≤ 10.8 | ≤13.8 |
| Interday | ≤11.9 | ≤ 7.7 | ≤10.5 |
| Dilution Verification (concentration tested) (ng/g) | 15000 | 5000 | 5000 |
| %RE | ≤29.3 | ≤10.1 | ≤4.4 |
| %RSD | ≤13.2 | ≤3.3 | ≤3.2 |
| Storage Stability @ -20oC (% of Day 0)b, c |  |  |  |
| %RE | ≤12.7 | ND | ND |
| %RSD | ≤ 3.8 | ND | ND |

aAccuracy and precision were calculated using liver QCs

bStability was performed up to 60 and 287 days for low and High QCs.

c ND, not determined

Table S3. Summary of Analytical Method Validation and Stability Data for FTOH, PFOA and 7:3 FTA in Kidney

| Parameter | FTOH | PFOA | 7:30 FTA |
| --- | --- | --- | --- |
| Matrix concentration range (ng/g) | 100 to1000 | 50 to 2000 | 5 to 2000 |
| Limit of Detection (LOD) (ng/g) | 14.4 | 5.82 | 0.983 |
| Linearity (r2) | ≥ 0.99 | ≥ 0.98 | ≥ 0.98 |
| Accuracya (%RE) |  |  |  |
| Intraday | ≤ ±8.6 | ≤ ±10.8 | ≤ ±10.6 |
| Interday | ≤ ±6.7 | ≤ ±8.7 | ≤ ±5.1 |
| Precisiona (RSD (%) |  |  |  |
| Intraday | ≤ 8.7 | ≤ 5.2 | ≤ 7.9 |
| Interday | ≤ 10.6 | ≤ 4.3 | ≤ 7.0 |
| Dilution Verification (concentration tested) (ng/g) | 15000 | 5000 | 5000 |
| %RE | ≤ ±10.0 | ≤ ±45.2 | ≤ ±18.8 |
| %RSD | ≤ 6.7 | ≤ 12.6 | ≤ 8.9 |
| Long Term Stability @ -20oC (% of Day 0) b, c |  |  |  |
| %RE | ≤ ± 10.7 | ND | ND |
| %RSD | ≤ 4.2 | ND | ND |

aAccuracy and precision were calculated using kidney QCs

bStability was performed up to 60 and 310 days for low and High QCs.

c ND, not determined

Table S4. Summary of Analytical Method Validation and Stability Data for FTOH, PFOA and 7:3 FTA in Brain

| Parameter | FTOH | PFOA | 7:3 FTA |
| --- | --- | --- | --- |
| Matrix concentration range (ng/g) | 100-1000 | 50 to 2000 | 5 to 2000 |
| Limit of Detection (LOD) (ng/g) | 33.1 | 13.1 | 1.22 |
| Linearity (r2) | ≥ 0.99 | ≥ 0.98 | ≥ 0.98 |
| Accuracya (%RE) |  |  |  |
| Intraday | ≤ ±13.7 | ≤ ±13.2 | ≤±13.9 |
| Interday | ≤ ±10.9 | ≤ ±5.1 | ≤ ±6.7 |
| Precisiona RSD (%) |  |  |  |
| Intraday | ≤13.5 | ≤5.8 | ≤14.5 |
| Interday | ≤ 5.8 | ≤9.5 | ≤14.2 |
| Dilution Verification (concentration tested) (ng/g) | 15000 | 5000 | 5000 |
| %RE | ≤ ±13.2 | ≤ ±18.3 | ≤ ±151.1 |
| %RSD | ≤ 5.1 | ≤ 4.9 | ≤ 18.7 |
| Long Term Stability (-20oC, 60 days) |  |  |  |
| %RE | ≤ ±6.6 | ND | ND |
| %RSD | ≤ 2.6 | ND | ND |

aAccuracy and precision were calculated using brain QCs

bStability was performed up to 60 and 308 days for low and High QCs.

c ND, not determined

FIGURE LEGENDS

Figure S1.  Plasma concentration (nM) of 8:2 FTOH, PFOA, and 7:3 FTA adjusted per mg/kg 8:2 FTOH administered intravenously (IV) or via gavage (Gav) in male and female Sprague-Dawley rats (N=3).

Figure S2. Plasma concentrations (µM; mean and SEM) of 8:2-FTOH, PFOA, and 7:3-FTA in male and female Sprague Dawley rats (N=3) after a single administration of 8:2-FTOH via gavage, 24 mg/kg in males (A) and 80 mg/kg in females (B)

Figure S1)

Figure S2)